## Sheet1
FDA - MAUDE
MODEL NUMBER | DEVICE PROBLEM | PATIENT PROBLEM | EVENT DATE | EVENT TYPE | EVENT DESCRIPTION | MANUFACTURER NARRATIVE | Report No
KEYWORD - NEVRO SENZA
. | Break (1069); Therapeutic or Diagnostic Output Failure (3023) | No Known Impact Or Consequence To Patient (2692) | 2020-01-02 | Injury | The nevro spinal cord stimulator leads have malfunctioned or broken twice. | . | MW5092866
KEYWORD - SENZA
NIPG1500 | Appropriate Term/Code Not Available (3191) | Insufficient Information (4580) | 2021-03-05 | Injury | It was reported to nevro that the patient had the device removed. Nevro attempted to obtain additional information regarding the nature of the device removal but none was available. There were no reports of device-related issues from the patient prior to the device removal. | Nevro is awaiting the return of the device. | 3008514029-2021-00125
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Insufficient Information (4580) | 2020-11-15 | Death | It was reported to nevro that the patient passed away. There were no reports of device-related issues from the patient prior to the passing. Nevro attempted to obtain a medical assessment from a healthcare professional but no additional information was available. | The manufacturing records were reviewed and no issues related to the nature of the complaint were found. A review of the available diagnostic data showed no indications of a device malfunction. The device was not available for return. | 3008514029-2021-00124
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Insufficient Information (4580) | 2021-03-05 | Death | It was reported to nevro that the patient passed away. Nevro attempted to obtain a medical assessment from the physician but no additional information was available. There were no reports of device-related issues from the patient prior to the passing. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00123
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Hemorrhage/Bleeding (1888) | 2021-03-05 | Injury | It was reported to nevro that the patient experienced a hemorrhage requiring surgical intervention. Nevro attempted to obtain more information regarding the nature of the issue, but none was available. There have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not removed. | 3008514029-2021-00121
LEAD3005-70B | Adverse Event Without Identified Device or Use Problem (2993) | Hematoma (1884); Numbness (2415) | 2021-03-05 | Injury | It was reported to nevro that after the implant procedure the patient lost feeling in both legs due to a hematoma. The hematoma was removed and the device was placed in the soft tissue near the incision. The patient is recovering and the physician will place the lead in the future. | The manufacturing records were reviewed and no issues were found. The device was not removed | 3008514029-2021-00120
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Insufficient Information (4580) | 2021-03-02 | Death | It was reported to nevro that the patient passed away. Nevro attempted to obtain a medical assessment from the physician but no additional information was available. There were no reports of device-related issues from the patient prior to the passing. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00119
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Unspecified Infection (1930) | 2021-02-28 | Injury | It was reported to nevro that the patient developed an infection at the ipg site. The patient was given antibiotics and the device was removed. Nevro attempted to obtain additional information regarding the nature of the infection but was unsuccessful. There have been no reports of further complications regarding this event | The manufacturing and sterilization records were reviewed and no issues related to the nature of the complaint were found. The device was not available for return. | 3008514029-2021-00118
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Pain (1994) | 2021-02-19 | Injury | It was reported to nevro that the patient experienced pain at the pocket site. The physician washed out and relocated the pocket site and replaced the device. There have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. Nevro is awaiting the return of the device. | 3008514029-2021-00117
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Stroke/CVA (1770) | 2020-10-02 | Death | It was reported to nevro that the patient passed away from a stroke. The physician believes the stroke was related to the discontinuation of anticoagulants for the implant procedure. There were no reports of device-related issues from the patient prior to the passing. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00115
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Pain (1994); Vomiting (2144) | 2021-01-15 | Injury | It was reported to nevro that the patient was hospitalized for pain and vomiting. Stimulation was turned off and the symptoms subsided. The device was reprogrammed and the patient is currently using their device to find effective pain relief. | The manufacturing records were reviewed and no issues were found. The device was not removed. | 3008514029-2021-00113
LEAD1058-50B | Adverse Event Without Identified Device or Use Problem (2993) | Hematoma (1884) | 2021-03-01 | Injury | It was reported to nevro that the patient acquired a hematoma. The physician treated the hematoma surgically and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not removed. | 3008514029-2021-00112
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Balance Problems (4401) | 2021-03-03 | Injury | It was reported that the patient experienced a loss of balance. Nevro attempted to obtain additional information regarding the nature of the symptoms but was unsuccessful. The patient noted effective pain relief while using stimulation, but had the device removed. There have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no issues were found. A review of the available diagnostic data showed no indications of a device malfunction. The device was not available for return. | 3008514029-2021-00114
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Hematoma( 1884) | 2021-02-28 | Injury | It was reported to nevro that the patient acquired a hematoma. The physician removed the device and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00111
LEAD1058-70B | Adverse Event Without Identified Device or Use Problem (2993) | Cerebrospinal Fluid Leakage (1772) | 2021-02-10 | Injury | It was reported to nevro that the patient experienced leakage of cerebrospinal fluid. The physician performed a revision surgery and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00108
LEAD1058-70B | Adverse Event Without Identified Device or Use Problem (2993) | Unspecified Infection (1930) | 02/24/2021 | Injury | It was reported that the patient developed an infection at the lead incision site. Nevro attempted to obtain additional information regarding the nature of the infection but was unsuccessful. The wound was surgically cleaned and antibiotics were given. There have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no issues were found. The device was not removed. | 3008514029-2021-00106
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Insufficient Information (4580) | 2021-02-17 | Death | It was reported to nevro that the patient passed away. Nevro attempted to obtain a medical assessment from the physician but no additional information was available. There were no reports of device-related issues from the patient prior to the passing. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00107
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Insufficient Information (4580) | 2021-02-11 | Death | It was reported to nevro that the patient passed away. There were no reports of issues with the implanted device from the patient prior to the passing. Nevro attempted to obtain a medical assessment from a healthcare professional but no additional information was available. | The manufacturing records were reviewed and no issues were found. The complaint database shows no other deaths of patients with ipg from the same lot. The device was not available for return. | 3008514029-2021-00104
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Skin Erosion (2075) | 2021-02-24 | Injury | It was reported to nevro that the patient developed skin erosion at the ipg site. Nevro attempted to obtain additional information regarding the nature of the issue, but none was available. The device was removed and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00103
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Unspecified Infection (1930) | 2021-02-19 | Injury | It was reported to nevro that the patient developed an infection at the incision site. The patient was given antibiotics and the device was later removed. Nevro attempted to obtain additional information regarding the nature of the infection but was unsuccessful. The physician will evaluate the patient for possible re-implantation in the future. | The manufacturing and sterilization records were reviewed and no issues were found. The device was not available for return. | 3008514029-2021-00102
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Renal Failure (2041) | 2021-01-24 | Death | It was reported to nevro that the patient passed away due to end stage renal disease. The patient was receiving effective pain relief while using the device. There were no reports of device-related issues from the patient prior to the passing. Nevro attempted to obtain a medical assessment from a healthcare professional to confirm the cause of death but no additional information was available. | The manufacturing records were reviewed and no issues were found. | 3008514029-2021-00098
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Foreign Body Reaction (1868) | 2021-02-10 | Injury | It was reported to nevro that the device was removed because the patient believed their body was rejecting their device. The device may have also been removed because the patient needed an mri. Nevro attempted to obtain additional information regarding the device removal but was unsuccessful. There have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no issues were found. The device was not available for return. | 3008514029-2021-00097
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Fall (1848); Muscle Weakness (1967) | 02/09/2021 | Injury | It was reported to nevro that the patient fell several times and felt their legs had weakened. It was noted that the patient had a pre-existing condition that limited their mobility. Nevro attempted to obtain additional information regarding the nature of the falls but was unsuccessful. | The manufacturing records were reviewed and no issues were found. The device was not removed. | 3008514029-2021-00096
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Renal Failure (2041); Heart Failure/Congestive Heart Failure (4446) | 2021-02-03 | Death | It was reported to nevro that the patient passed away from kidney and cardiac failure. Nevro attempted to obtain a medical assessment from the physician but no additional information was available. There were no reports of device-related issues from the patient prior to the passing. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not available for return. | 3008514029-2021-00094
TLEAD1058-70B | Adverse Event Without Identified Device or Use Problem (2993) | Cerebrospinal Fluid Leakage (1772) | 02/11/2021 | Injury | It was reported to nevro that the patient experienced leakage of cerebrospinal fluid. The physician applied a blood patch and removed the device. There have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. | 3008514029-2021-00091
TLEAD1058-50B | Adverse Event Without Identified Device or Use Problem (2993) | Movement Disorder (4412) | 2021-02-09 | Injury | It was reported to nevro that shortly after the trial procedure the patient experienced foot drop on the right side. The lead was removed and the patient is under medical supervision | The manufacturing records were reviewed and no issues were found. The device was not available for return. | 3008514029-2021-00090
NIPG1500 | Material Protrusion/Extrusion (2979) | Unspecified Infection (1930); Pocket Erosion (2013 | 01/28/2021 | Injury | It was reported to nevro that the ipg was eroding through the skin. The patient developed an infection and the device was removed. Nevro attempted to obtain additional information regarding the nature of the symptoms but was unsuccessful. There have been no reports of further complications regarding this event. | The manufacturing and sterilization records were reviewed and no issues were found. | 3008514029-2021-00086
NIPG1500 | Adverse Event Without Identified Device or Use Problem (2993) | Electric Shock (2554) | 01/31/2021 | Injury | It was reported to nevro that the patient felt shocking sensations. Nevro attempted to obtain additional information regarding the nature of the issue, but none was available. The device was removed and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. | 3008514029-2021-00085
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Pocket Erosion (2013) | 01/31/2021 | Injury | It was reported to nevro that the ipg was eroding through the skin. The device was removed and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no issues were found. The device was not available for return. | 3008514029-2021-00079
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Convulsion/Seizure (4406) | 2021-01-29 | Injury | It was reported to nevro that the patient experienced seizure-like symptoms. The physician removed the device. The patient had been implanted for over a year and was using the device with effective pain relief prior to the removal. There have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00077
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Urinary Retention (2119); Electric Shock (2554 | 02/05/2021 | Injury | It was reported to nevro that the patient experienced a shocking sensation and urinary incontinence. The device was removed and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. | 3008514029-2021-00076
TLEAD1058-50B | Adverse Event Without Identified Device or Use Problem (2993 | Paralysis (1997) | 02/04/2021 | Injury | It was reported to nevro that the patient experienced temporary paralysis in their lower limbs. The cause of the issue was inconclusive per the physician. The physician removed the device and the patient recovered without sequalae | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00073
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Muscle Weakness (1967) | 2021-01-29 | Injury | It was reported to nevro that the patient experienced leg weakness. The device was removed and there have been no reports of further complications regarding this event. The physician did not believe the issue to be related to the device. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00071
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Wound Dehiscence (1154) | 2020-10-28 | Injury | It was reported to nevro that the patient¿s pocket site wound opened up. The device was removed and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00070
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Abdominal Pain (1685); Urinary Tract Infection (2120) | 2021-01-24 | Injury | It was reported to nevro that the patient experienced stomach pain and a urinary tract infection. The patient was given intravenous medications. The patient continues to use therapy with effective pain relief and there have been no reports of further complications regarding this event. | The manufacturing and sterilization records were reviewed, and no relevant nonconformities were found. The device was not removed. | 3008514029-2021-00068
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Burning Sensation (2146) | 2021-01-05 | Injury | It was reported to nevro that shortly after the implant procedure, before the device was turned on, the patient requested the device be removed. The patient then experienced a burning sensation while using the device, but did not want to troubleshoot the issue. The device was removed and there have been no reports of further complications regarding this event. | Nevro is awaiting the return of the device. The manufacturing records were reviewed and no issues were found | 3008514029-2021-00065
LEAD3005-70B | Adverse Event Without Identified Device or Use Problem (2993) | Abdominal Pain (1685); Numbness (2415) | 2021-01-27 | Injury | It was reported to nevro that shortly after the implant procedure the patient could not feel their right leg and had right abdominal pain. The device was removed and an mri afterwards showed no abnormalities. The patient is currently recovering. | The manufacturing records were reviewed and no issues were found. The device was not available for return. | 3008514029-2021-00062
ACCK5300 | Break (1069) | Device Embedded In Tissue or Plaque (3165) | 01/21/2021 | Malfunction | It was reported to nevro that the physician discovered a damaged anchor during a revision procedure. The physician removed the anchor pieces and replaced it. The patient was not injured and is currently using the device. | Nevro is awaiting the return of the device. The manufacturing records were reviewed and no relevant nonconformities were found. | 3008514029-2021-00056
NIPG2000 | dverse Event Without Identified Device or Use Problem (2993) | Hypersensitivity/Allergic reaction (1907) | 2021-01-16 | Injury | It was reported to nevro that the patient experienced a rash, dizziness and nausea, due to an allergic reaction to either the anesthetic or antibiotic. The patient was admitted to the hospital. The physician does not believe this to be related to the device. The patient is recovering and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. | 3008514029-2021-00055
LEAD1058-70B | dverse Event Without Identified Device or Use Problem (2993) | Impaired Healing (2378) | 2021-01-20 | Injury | It was reported to nevro that the patient¿s lead incision site was not healing well. The physician decided to replace the leads. The patient is recovering and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00053
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Seroma (2069 | 2021-01-15 | Injury | It was reported to nevro that the patient acquired a seroma. The patient was hospitalized and given antibiotics. The physician did not believe the seroma to be related to the device. The device was removed and there have been no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00052
ACCK5300 | Break (1069) | Pain (1994); Device Embedded In Tissue or Plaque (3165) | 2021-01-14 | Malfunction | It was reported to nevro that two weeks after implant the patient felt a new pain. It was discovered that the lead anchor had broken into two pieces. The device was removed and replaced. There have been no reports of further complications regarding this event. | Nevro is awaiting the return of the device. The manufacturing records were reviewed and no issues were found. | 3008514029-2021-00050
LEAD3005-70B | Adverse Event Without Identified Device or Use Problem (2993) | Numbness (2415) | 2021-01-12 | Injury | It was reported to nevro that shortly after the implant the patient could not feel their feet or legs. The lead was removed and the ipg remained in the patient. The patient has recovered without sequelae. | The manufacturing records were reviewed and no issues were found. The device was not available for return. | 3008514029-2021-00046
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Fall (1848); Ambulation Difficulties (2544) | 2020-08-14 | Injury | It was reported to nevro that since implant the patient has drop foot. The patient has also fallen multiple times recently. Nevro attempted to obtain additional information regarding the nature of the issues but was unsuccessful. The patient continues to use their device to find effective pain relief. | The manufacturing records were reviewed and no issues were found. The device was not removed | 3008514029-2021-00042
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Pulmonary Embolism (1498); Fall (1848); Thrombosis/Thrombus (4440) | 12/21/2020 | Injury | It was reported to nevro that shortly after the implant the patient fell due to the effects of the anesthesia. The patient was later hospitalized for postoperative deep vein thrombosis and pulmonary embolism. | The manufacturing records were reviewed and no issues were found. The device was not available for return | 3008514029-2021-00039
NIPG2000 | Adverse Event Without Identified Device or Use Problem (2993) | Headache (1880); Tinnitus (2103) | 2021-01-08 | Injury | It was reported to nevro that the patient experienced a ringing and buzzing in the ears, and headaches. The device was removed and most symptoms have resolved. It was noted that the physician did not believe the symptoms were related and the patient was receiving effective pain relief from the device prior to removal. | The manufacturing records were reviewed and no issues were found. The device was not available for return. | 3008514029-2021-00038
TLEAD1058-50B | Adverse Event Without Identified Device or Use Problem (2993) | Arrhythmia (1721) | 01/07/2021 | Injury | It was reported to nevro that the patient experienced atrial fibrillation and was hospitalized after propofol was administered during the trial procedure. The patient has been discharged and has completed the trial with no reports of further complications regarding this event. | The manufacturing records were reviewed and no relevant nonconformities were found. The device was not returned | 3008514029-2021-00037
NIPG2500 | Adverse Event Without Identified Device or Use Problem (2993) | Hypersensitivity/Allergic reaction (1907) | 2020-12-24 | Injury | It was reported to nevro that during a revision surgery, the physician found a possible infection at the incision sites. The patient was hospitalized, the physician removed the device and washed out the wounds. Cultures came back negative and the physician believes the issue may have been a metal allergy. The patient was discharged and recovered without sequelae. | The manufacturing and sterilization records were reviewed, and no relevant nonconformities were found. The device was not returned. | 3008514029-2021-00035

## Sheet2
TGA- Australia
Report number | Report date | Trade name | Sponsor | Manufacturer | ARTG number | GMDN term | Event Description | Event Outcome
54297 | 29/12/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient passed away, for reasons unrelated to the device. | Death
55498 | 2019-06-03 | Senza IPG Kit - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient passed away. The patient had been receiving effective pain relief prior to the passing. | Death
55969 | 15/03/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported patient passed away. There were no reports of device-related issues from the patient prior to the passing and the patient had been using the device with effective pain relief. | Death
55833 | 17/05/2019 | Senza Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The patient passed away. | Death
56777 | 18/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The patient passed away due to cardiac arrest. | Death
56778 | 18/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal co | The patient passed away due to Lung carcinoma. | Death
56779 | 18/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The patient has serve dementia but is alive. | Death
56826 | 18/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the patient passed away. | Death
55834 | 29/07/2019 | Senza Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The patient passed away. | Death
33083 | 2014-07-02 | Senza IPG | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported that the patient came into the emergency room with discharge from her IPG wound site. Discharge was serous and the patient was afebrile. | Injury
39506 | 2015-08-12 | Senza IPG Kit - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The physician decided to explant the devices due to infection. | Injury
39585 | 15/12/2015 | Senza IPG Kit - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The patient was found to have a hematoma. | Injury
42415 | 2016-05-10 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | Needle detached from the hub during removal. | Injury
43640 | 15/11/2016 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | It was reported that a patient had acquired a MRSA infection at the trial incision site. | Injury
43651 | 16/11/2016 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | device removed due to infection | Injury
44012 | 2016-09-12 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | The wound was not healing at the anchor site. | Injury
44346 | 2017-07-01 | Senza | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | Patient has experienced infection and pain at the lead incision site. | Injury
44474 | 15/03/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported that a patient was admitted to the hospital with an infection following implant procedure. | Injury
46496 | 14/06/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported that a patient had acquired an infection following a revision procedure. The device was explanted. | Injury
45771 | 24/06/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient had acquired an infection | Injury
46736 | 27/06/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient acquired an infection following implant procedure. | Injury
46133 | 2017-01-08 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | During a lead revision procedure, one of the leads was placed lateral to spinal cord as the surgeon had difficulty placing the lead due to scar tissues. The patient reported sensory loss and severe new pain on the right leg postoperatively. | Injury
46322 | 2017-01-08 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | A trial patient experienced new pain in her leg following lead placement. | Injury
47225 | 2017-01-08 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | During a routine follow-up, it was reported that a patient had acquired an infection. | Injury
46258 | 2017-01-08 | Senza- Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | A patient acquired an infection at the lead incision site. | Injury
47584 | 25/08/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | A patient acquired an infection during the trial. | Injury
47988 | 19/09/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Trial patient developed an infection. | Injury
47267 | 24/10/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Numbness in legs and increase in blood pressure a few weeks after the implant procedure. The ECG which showed some abnormalities. | Injury
47142 | 29/11/2017 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | After several attempts to insert the percutaneous lead, the lead was retracted and the top contact was missing. | Injury
49551 | 2018-02-01 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Infection following the implant procedure. | Injury
49853 | 24/01/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient acquired an infection and was explanted. | Injury
50579 | 2018-10-03 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The patient had developed minor cognitive deficits post-stroke, leading to non-compliance with usage of the Nevro device. | Injury
48623 | 18/03/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | During a routine follow-up, it was reported that a patient had developed a seroma and it developed into an infection. | Injury
50709 | 18/03/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the patient had acquired an infection following a blunt force impact to the IPG pocket from hitting a door. | Injury
50887 | 28/03/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient acquired an infection following a recent implant of the IPG. | Injury
50927 | 30/03/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient reported shortness of breath and required an MRI. There have been no further reports of complications. | Injury
51024 | 2018-09-04 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Following an implant procedure, a patient experienced temporary paralysis in his right leg. | Injury
51144 | 16/06/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient developed an infection at the implant site | Injury
52633 | 31/07/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | One day following the implant procedure, the patient developed weakness, pain and tingling. X-rays showed a previously implanted cervical disc replacement had moved. | Injury
51869 | 2018-01-08 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient's device was explanted and a haematoma was drained. | Injury
53319 | 2018-06-09 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient experienced severe migraines while using the device | Injury
53931 | 19/10/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient was hospitalized for an infection. | Injury
53932 | 19/10/2018 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient developed an infection at the anchor site. | Injury
54210 | 2018-02-11 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported that the patient developed an infection. | Injury
54237 | 16/01/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | During the lead placement, a dural tear occurred. The patient developed incontinence and left foot pain. | Injury
55164 | 30/03/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the patient experienced shocking sensations. | Injury
56931 | 2019-12-04 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | The patient experienced pain. | Injury
57128 | 26/04/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that at the start of the implant procedure, the patient may have suffered a respiratory arrest. The implanting physician later noted that there may have been a hardware problem with the anesthetic machine. | Injury
57344 | 2019-09-05 | Senza | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that shortly after the implant procedure the patient developed pain from subdural bleeding, which was likely due to post-operative hypertension. | Injury
55642 | 20/05/2019 | Senza Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Infection | Injury
55953 | 22/05/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Device explanted | Injury
56146 | 22/05/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Patient was diagnosed with terminal cancer. There were no reports of device-related issues from the patient prior to this incident. | Injury
56787 | 27/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the device was removed. | Injury
56788 | 27/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the device was removed. | Injury
56789 | 27/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the device was removed. | Injury
56796 | 27/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the device was removed. | Injury
56828 | 27/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the device was removed. | Injury
56829 | 27/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the device was removed. | Injury
56947 | 31/07/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 284256 | Stimulator, electrical, analgesic, spinal cord | Infection at the lead site. | Injury
58975 | 19/08/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | The patient experienced a heart attack. | Injury
59282 | 2019-05-09 | Senzact - Neural-tissue electrical stimulation lead | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185993 | Neural-tissue electrical stimulation lead | Infection at the lead extension site. | Injury
59519 | 18/09/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 284256 | Stimulator, electrical, analgesic, spinal cord | Explant due to pain and a pulling sensation at the lead incision site. | Injury
53320 | 17/12/2018 | Senza | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Stimulator, electrical, analgesic, spinal cord | It was reported to Nevro that the stylet tip broke off when the stylet was removed from the lead during an implant procedure. | No injury
58892 | 14/08/2019 | Senza - Stimulator, electrical, analgesic, spinal cord | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 186043 | Stimulator, electrical, analgesic, spinal cord | Haematoma developed during the implant procedure and device not implanted | No injury
|  | Lead Kit - Electrode/lead, stimulator, implantable, neurological | Emergo Asia Pacific Pty Ltd T/a Emergo Australia | Nevro Corporation | 185992 | Electrode/lead, stimulator, implantable, neurological