- ISO 14155 (Clinical investigation of medical devices for human subjects – Good Clinical Practice)

- It addresses good clinical practices for the design, conduct, recording and reporting of clinical investigations carried out in human subject.

- It is to assess the safety and performance of medical devices for regulatory purposes.

- However, it does not apply to in vitro diagnostic medical devices.

- Developed by ISO technical committee ISO/TC 194.

- ISO 14155 was published in its second edition in February 2011.

- The third edition was released in July 2020.

- The ISO 14155:2020 standard is not free, but copyright and must be purchased from an ISO member.

- It provides guidance to manufacturers and clinical research professionals on how to implement Good Clinical Practice (GCP) for pre- and post-market clinical investigations designed to determine the safety and performance of a medical device.

- Requirements of the Standard:

- Scope

- Normative references

- Terms and definitions

- Ethical considerations

- Clinical investigation planning

- Clinical investigation conduct

- Suspension, termination, and close-out of the clinical investigation

- Responsibilities of the sponsor

- Responsibilities of the principal investigator.

- The ISO 14155 standard provides the general specifications and requirements for clinical investigations to:

- Protect the rights, safety, and well-being of human subjects.

- Ensure scientific conduct of the clinical investigation and credibility of the clinical investigation results.

- Define the responsibilities of the sponsor and principal investigator.

- Assist sponsors, investigators, ethics committees, regulatory authorities, and other bodies involved in the conformity assessment of medical devices.

- EU MDR 2017/745

- (EU) 2017/745 is a regulation of the European Union on the clinical investigation and sale of medical devices for human use.

- It repeals Directive 93/42/EEC, which concerns medical devices, and Directive 90/385/EEC, which concerns active implantable medical devices, on 26 May 2021.

- Steps to Comply with the EUMDR 2017:

- Decide the intended use and classification of the planned medical device.

- Establish the necessary processes and resources.

- Minimize the risks and fulfil the general safety and performance requirements.

- Complete the clinical evaluation.

- Compile the technical documentation.

- Plan the distribution.

- Register the device and the manufacturer.

- Complete the conformity assessment.

- Complete the final administrative procedures before launch.

- Fulfil the ongoing obligations in the post launch phase.

## ANNEX XIV

Clinical evaluation and post-market clinical follow-up

PART A

Clinical evaluation

1. To plan, continuously conduct and document a clinical evaluation, manufacturers shall:

| (a) | establish and update a clinical evaluation plan, which shall include at least: — an identification of the general safety and performance requirements that require support from relevant clinical data; — a specification of the intended purpose of the device; — a clear specification of intended target groups with clear indications and contra-indications; — a detailed description of intended clinical benefits to patients with relevant and specified clinical outcome parameters; — a specification of methods to be used for examination of qualitative and quantitative aspects of clinical safety with clear reference to the determination of residual risks and side-effects; — an indicative list and specification of parameters to be used to determine, based on the state of the art in medicine, the acceptability of the benefit-risk ratio for the various indications and for the intended purpose or purposes of the device; — an indication how benefit-risk issues relating to specific components such as use of pharmaceutical, non- viable animal or human tissues, are to be addressed; and — a clinical development plan indicating progression from exploratory investigations, such as first-in-man studies, feasibility and pilot studies, to confirmatory investigations, such as pivotal clinical investigations, and a PMCF as referred to in Part B of this Annex with an indication of milestones and a description of potential acceptance criteria; |
| --- | --- |

| (b) | identify available clinical data relevant to the device and its intended purpose and any gaps in clinical evidence through a systematic scientific literature review; |
| --- | --- |

| (c) | appraise all relevant clinical data by evaluating their suitability for establishing the safety and performance of the device; |
| --- | --- |

| (d) | generate, through properly designed clinical investigations in accordance with the clinical development plan, any new or additional clinical data necessary to address outstanding issues; and |
| --- | --- |

| (e) | analyze all relevant clinical data in order to reach conclusions about the safety and clinical performance of the device including its clinical benefits. |
| --- | --- |

2. The clinical evaluation shall be thorough and objective and consider both favorable and unfavorable data. Its depth and extent shall be proportionate and appropriate to the nature, classification, intended purpose and risks of the device in question, as well as to the manufacturer’s claims in respect of the device.

3. A clinical evaluation may be based on clinical data relating to a device for which equivalence to the device in question can be demonstrated. The following technical, biological, and clinical characteristics shall be taken into consideration for the demonstration of equivalence:

| — | Technical: the device is of similar design; is used under similar conditions of use; has similar specifications and properties including physicochemical properties such as intensity of energy, tensile strength, viscosity, surface characteristics, wavelength and software algorithms; uses similar deployment methods, where relevant; has similar principles of operation and critical performance requirements; |
| --- | --- |

| — | Biological: the device uses the same materials or substances in contact with the same human tissues or body fluids for a similar kind and duration of contact and similar release characteristics of substances, including degradation products and leachables; |
| --- | --- |

| — | Clinical: the device is used for the same clinical condition or purpose, including similar severity and stage of disease, at the same site in the body, in a similar population, including as regards age, anatomy and physiology; has the same kind of user; has similar relevant critical performance in view of the expected clinical effect for a specific intended purpose. |
| --- | --- |

The characteristics listed in the first paragraph shall be like the extent that there would be no clinically significant difference in the safety and clinical performance of the device. Considerations of equivalence shall be based on proper scientific justification. It shall be clearly demonstrated that manufacturers have sufficient levels of access to the data relating to devices with which they are claiming equivalence to justify their claims of equivalence.

4. The results of the clinical evaluation and the clinical evidence on which it is based shall be documented in a clinical evaluation report which shall support the assessment of the conformity of the device.

The clinical evidence together with non-clinical data generated from non-clinical testing methods and other relevant documentation shall allow the manufacturer to demonstrate conformity with the general safety and performance requirements and shall be part of the technical documentation for the device in question.

Both favorable and unfavorable data considered in the clinical evaluation shall be included in the technical documentation.

PART B

Post-market clinical follow-up

5. PMCF shall be understood to be a continuous process that updates the clinical evaluation referred to in Article 61 and Part A of this Annex and shall be addressed in the manufacturer’s post-market surveillance plan. When conducting PMCF, the manufacturer shall proactively collect and evaluate clinical data from the use in or on humans of a device which bears the CE marking and is placed on the market or put into service within its intended purpose as referred to in the relevant conformity assessment procedure, with the aim of confirming the safety and performance throughout the expected lifetime of the device, of ensuring the continued acceptability of identified risks and of detecting emerging risks on the basis of factual evidence.

6. PMCF shall be performed pursuant to a documented method laid down in a PMCF plan.

6.1. The PMCF plan shall specify the methods and procedures for proactively collecting and evaluating clinical data with the aim of:

| (a) | confirming the safety and performance of the device throughout its expected lifetime, |
| --- | --- |

| (b) | identifying previously unknown side-effects and monitoring the identified side-effects and contraindications, |
| --- | --- |

| (c) | identifying and analyzing emergent risks on the basis of factual evidence, |
| --- | --- |

| (d) | ensuring the continued acceptability of the benefit-risk ratio referred to in Sections 1 and 9 of Annex I, and |
| --- | --- |

| (e) | identifying possible systematic misuse or off-label use of the device, with a view to verifying that the intended purpose is correct. |
| --- | --- |

- MDCG (Medical Device Coordination Group) 2020 -7

(Post-market clinical follow-up (PMCF) Plan Template - A guide for manufacturers and notified bodies)

- A PMCF plan shall specify the methods and procedures set up by the manufacturer, to proactively collect and evaluate clinical data from the use in or on humans of a CE marked medical device, placed on the market or put into service within its intended purpose, as referred to in the relevant conformity assessment procedure.

- The aim of the PMCF plan is:

- confirming the safety and performance, including the clinical benefit if applicable, of the device throughout its expected lifetime.

- identifying previously unknown side-effects and monitor the identified side-effects and contraindications.

- identifying and analyzing emergent risks based on factual evidence.

- ensuring the continued acceptability of the benefit-risk ratio.

- identifying possible systematic misuse or off-label use of the device, with a view to verifying that the intended purpose is correct.

- The purpose of the present template is to guide manufacturers in complying with the requirements of the MDR with respect to the compilation of the PMCF plan.

- Different activities included in the PMCF Plan:

- Basis / Need

- Registry

- Description

- Surveys

- PCMF Studies

- Rationale

- Limitations

- Timeline

- MDCG (Medical Device Coordination Group) 2020 -8

(Post-market clinical follow-up (PMCF) Evaluation Report Template

A guide for manufacturers and notified bodies)

- It is a continuous process that updates the clinical evaluation and that shall be addressed in the manufacturer’s post-market surveillance plan.

- The purpose of the present templates is to guide manufacturers in complying with the requirements of the MDR with respect to the compilation of the PMCF evaluation report.

- This would assist manufacturers in a harmonized and complete presentation of post market clinical data and facilitate the activity of notified bodies and competent authorities in finding the information in an organized format.

- Different activities included:

- Clinical Evaluation Report

- Risk Management File

- SSCP