- MEDDEV 2.7/1 revision 4

- This document promotes a common approach to clinical evaluation for medical devices regulated by directives 90/385/EEC and 93/42/EEC.

- It does not concern in vitro diagnostic devices.

Scope: This guide is not legally binding; only the text of the Directives is authentic in law.

Due to the participation of interested parties and of experts from national Competent Authorities, it is anticipated that this guide will be followed within the Member States, thereby supporting uniform application of relevant provisions of EU Directives and common practices.

- ISO 14155 (Clinical investigation of medical devices for human subjects – Good Clinical Practice)

- It addresses good clinical practices for the design, conduct, recording and reporting of clinical investigations carried out in human subject.

- It is to assess the safety and performance of medical devices for regulatory purposes.

- However, it does not apply to in vitro diagnostic medical devices.

- Developed by ISO technical committee ISO/TC 194.

- ISO 14155 was published in its second edition in February 2011.

- The third edition was released in July 2020.

- The ISO 14155:2020 standard is not free, but copyright and must be purchased from an ISO member.

- It provides guidance to manufacturers and clinical research professionals on how to implement Good Clinical Practice (GCP) for pre- and post-market clinical investigations designed to determine the safety and performance of a medical device.

- Requirements of the Standard:

- Scope

- Normative references

- Terms and definitions

- Ethical considerations

- Clinical investigation planning

- Clinical investigation conduct

- Suspension, termination, and close-out of the clinical investigation

- Responsibilities of the sponsor

- Responsibilities of the principal investigator.

- The ISO 14155 standard provides the general specifications and requirements for clinical investigations to:

- Protect the rights, safety, and well-being of human subjects.

- Ensure scientific conduct of the clinical investigation and credibility of the clinical investigation results.

- Define the responsibilities of the sponsor and principal investigator.

- Assist sponsors, investigators, ethics committees, regulatory authorities, and other bodies involved in the conformity assessment of medical devices.

- EU MDR 2017/745

- (EU) 2017/745 is a regulation of the European Union on the clinical investigation and sale of medical devices for human use.

- It repeals Directive 93/42/EEC, which concerns medical devices, and Directive 90/385/EEC, which concerns active implantable medical devices, on 26 May 2021.

- Steps to Comply with the EUMDR 2017:

- Decide the intended use and classification of the planned medical device.

- Establish the necessary processes and resources.

- Minimize the risks and fulfil the general safety and performance requirements.

- Complete the clinical evaluation.

- Compile the technical documentation.

- Plan the distribution.

- Register the device and the manufacturer.

- Complete the conformity assessment.

- Complete the final administrative procedures before launch.

- Fulfil the ongoing obligations in the post launch phase.